Section 721.276  Special Requirements for Ignitable or Reactive Hazardous Secondary Material

Containers holding ignitable or reactive hazardous secondary material must be located at least 15 meters (50 feet) from the facility's property line.

(Source:  Added at 40 Ill. Reg. 11367, effective August 9, 2016)