Section 722.353  Testing and Maintenance of Equipment

The LQG must test and maintain all required communications or alarm systems, fire protection equipment, spill control equipment, and decontamination equipment as necessary to assure their proper operation in time of emergency.

(Source:  Added at 42 Ill. Reg. 22047, effective November 19, 2018)