Section 724.151  Purpose and Implementation of Contingency Plan

a)	Each owner or operator must have a contingency plan for the facility.  The contingency plan must be designed to minimize hazards to human health or the environment from fires, explosions, or any unplanned sudden or non-sudden release of hazardous waste or hazardous waste constituents to air, soil, or surface water.

b)	The provisions of this plan must be carried out immediately whenever there is a fire, explosion or release of hazardous waste or hazardous waste constituents that could threaten human health or the environment.

(Source:  Amended at 27 Ill. Reg. 3725, effective February 14, 2003)