Section 724.274  Inspections

At least weekly, the owner or operator must inspect areas where containers are stored.  The owner or operator must look for leaking containers and for deterioration of containers and the containment system caused by corrosion or other factors.  See Sections 724.115(c) and 724.271 for remedial action required if deterioration or leaks are detected.

(Source:  Amended at 42 Ill. Reg. 22614, effective November 19, 2018)