Section 724.276  Special Requirements for Ignitable or Reactive Waste

Containers holding ignitable or reactive waste must be located at least 15 meters (50 feet) from the facility's property line.

BOARD NOTE:  See Section 724.117(a) for additional requirements.

(Source:  Amended at 27 Ill. Reg. 3725, effective February 14, 2003)