Section 724.350  Applicability

a)	The regulations in this Subpart L apply to owners and operators of facilities that store or treat hazardous waste in piles, except as Section 724.101 provides otherwise.

b)	The regulations in this Subpart L do not apply to owners or operators of waste piles that are closed with wastes left in place.  Such waste piles are subject to regulation under Subpart N (Landfills).

c)	The owner or operator of any waste pile that is inside or under a structure that provides protection from precipitation so that neither run-off nor leachate is generated is not subject to regulation under Section 724.351 or under Subpart F (Groundwater Protection), provided that the following is true:

1)	Liquids or materials containing free liquids are not placed in the pile;

2)	The pile is protected from surface water run-on by the structure or in some other manner;

3)	The pile is designed and operated to control dispersal of the waste by wind, where necessary, by means other than wetting; and

4)	The pile will not generate leachate through decomposition or other reactions.

(Source:  Amended at 42 Ill. Reg. 22614, effective November 19, 2018)