Section 725.154  Amendment of Contingency Plan

The contingency plan must be reviewed and immediately amended, if necessary, whenever any of the following occurs:

a)	Applicable regulations are revised;

b)	The plan fails in an emergency;

c)	The facility changes − in its design, construction, operation, maintenance, or other circumstances − in a way that materially increases the potential for fires, explosions, or releases of hazardous waste or hazardous waste constituents or changes the response necessary in an emergency;

d)	The list of emergency coordinators changes; or

- The list of emergency equipment changes.

(Source:  Amended at 33 Ill. Reg. 1155, effective December 30, 2008)