Section 725.276  Special Requirements for Ignitable or Reactive Wastes

Containers holding ignitable or reactive waste must be located at least 15 meters (50 feet) from the facility's property line.

BOARD NOTE:  See Section 725.117(a) for additional requirements.

(Source:  Amended at 29 Ill. Reg. 6389, effective April 22, 2005)