Section 725.323  Containment System

An earthen dike must have a protective cover, such as grass, shale, or rock to minimize wind and water erosion and to preserve its structural integrity.

(Source:  Renumbered from Section 725.324 and amended at 32 Ill. Reg. 12566, effective July 14, 2008)