Section 728.TABLE U   Universal Treatment Standards (UTS)

| Regulated Constituent-Common Name | CAS1 No. |  | Wastewater Standard Concentration2 (in mg/ℓ ) | Nonwastewater Standard Concentration3 (in mg/kg unless noted as "mg/ℓ TCLP") |
| --- | --- | --- | --- | --- |
| Acenaphthylene |  | 208-96-8 | 0.059 | 3.4 |
| Acenaphthene |  | 83-32-9 | 0.059 | 3.4 |
| Acetone |  | 67-64-1 | 0.28 | 160 |
| Acetonitrile |  | 75-05-8 | 5.6 | 38 |
| Acetophenone |  | 96-86-2 | 0.010 | 9.7 |
| 2-Acetylaminofluorene |  | 53-96-3 | 0.059 | 140 |
| Acrolein |  | 107-02-8 | 0.29 | NA |
| Acrylamide |  | 79-06-1 | 19 | 23 |
| Acrylonitrile |  | 107-13-1 | 0.24 | 84 |
| Aldrin |  | 309-00-2 | 0.021 | 0.066 |
| 4-Aminobiphenyl |  | 92-67-1 | 0.13 | NA |
| Aniline |  | 62-53-3 | 0.81 | 14 |
| o-Anisidine (2-methoxyaniline) |  | 90-04-0 | 0.010 | 0.66 |
| Anthracene |  | 120-12-7 | 0.059 | 3.4 |
| Aramite |  | 140-57-8 | 0.36 | NA |
| a-BHC |  | 319-84-6 | 0.00014 | 0.066 |
| b-BHC |  | 319-85-7 | 0.00014 | 0.066 |
| d-BHC |  | 319-86-8 | 0.023 | 0.066 |
| -BHC |  | 58-89-9 | 0.0017 | 0.066 |
| Benz(a)anthracene |  | 56-55-3 | 0.059 | 3.4 |
| Benzal chloride |  | 98-87-3 | 0.055 | 6.0 |
| Benzene |  | 71-43-2 | 0.14 | 10 |
| Benzo(b)fluoranthene (difficult to distinguish from benzo(k)fluoranthene) |  | 205-99-2 | 0.11 | 6.8 |
| Benzo(k)fluoranthene (difficult to distinguish from benzo(b)fluoranthene) |  | 207-08-9 | 0.11 | 6.8 |
| Benzo(g,h,i)perylene |  | 191-24-2 | 0.0055 | 1.8 |
| Benzo(a)pyrene |  | 50-32-8 | 0.061 | 3.4 |
| Bromodichloromethane |  | 75-27-4 | 0.35 | 15 |
| Methyl bromide (Bromomethane) |  | 74-83-9 | 0.11 | 15 |
| 4-Bromophenyl phenyl ether |  | 101-55-3 | 0.055 | 15 |
| n-Butyl alcohol |  | 71-36-3 | 5.6 | 2.6 |
| Butyl benzyl phthalate |  | 85-68-7 | 0.017 | 28 |
| 2-sec-Butyl-4,6-dinitrophenol (Dinoseb) |  | 88-85-7 | 0.066 | 2.5 |
| Carbon disulfide |  | 75-15-0 | 3.8 | 4.8 mg/ℓ TCLP |
| Carbon tetrachloride |  | 56-23-5 | 0.057 | 6.0 |
| Chlordane ( and isomers) |  | 57-74-9 | 0.0033 | 0.26 |
| p-Chloroaniline |  | 106-47-8 | 0.46 | 16 |
| Chlorobenzene |  | 108-90-7 | 0.057 | 6.0 |
| Chlorobenzilate |  | 510-15-6 | 0.10 | NA |
| 2-Chloro-1,3-butadiene |  | 126-99-8 | 0.057 | 0.28 |
| p-Chloro-m-cresol |  | 59-50-7 | 0.018 | 14 |
| Chlorodibromomethane |  | 124-48-1 | 0.057 | 15 |
| Chloroethane |  | 75-00-3 | 0.27 | 6.0 |
| bis(2-Chloroethoxy)methane |  | 111-91-1 | 0.036 | 7.2 |
| bis(2-Chloroethyl)ether |  | 111-44-4 | 0.033 | 6.0 |
| 2-Chloroethyl vinyl ether |  | 110-75-8 | 0.062 | NA |
| Chloroform |  | 67-66-3 | 0.046 | 6.0 |
| bis(2-Chloroisopropyl)ether |  | 39638-32-9 | 0.055 | 7.2 |
| Chloromethane (Methyl chloride) |  | 74-87-3 | 0.19 | 30 |
| 2-Chloronaphthalene |  | 91-58-7 | 0.055 | 5.6 |
| 2-Chlorophenol |  | 95-57-8 | 0.044 | 5.7 |
| 3-Chloropropylene |  | 107-05-1 | 0.036 | 30 |
| Chrysene |  | 218-01-9 | 0.059 | 3.4 |
| p-Cresidine |  | 120-71-8 | 0.010 | 0.66 |
| o-Cresol |  | 95-48-7 | 0.11 | 5.6 |
| m-Cresol (difficult to distinguish from p-cresol) |  | 108-39-4 | 0.77 | 5.6 |
| p-Cresol (difficult to distinguish from m-cresol) |  | 106-44-5 | 0.77 | 5.6 |
| Cyclohexanone |  | 108-94-1 | 0.36 | 0.75 mg/ℓ TCLP |
| o,p'-DDD |  | 53-19-0 | 0.023 | 0.087 |
| p,p'-DDD |  | 72-54-8 | 0.023 | 0.087 |
| o,p'-DDE |  | 3424-82-6 | 0.031 | 0.087 |
| p,p'-DDE |  | 72-55-9 | 0.031 | 0.087 |
| o,p'-DDT |  | 789-02-6 | 0.0039 | 0.087 |
| p,p'-DDT |  | 50-29-3 | 0.0039 | 0.087 |
| Dibenz(a,h)anthracene |  | 53-70-3 | 0.055 | 8.2 |
| Dibenz(a,e)pyrene |  | 192-65-4 | 0.061 | NA |
| 1,2-Dibromo-3-chloropropane |  | 96-12-8 | 0.11 | 15 |
| 1,2-Dibromoethane/Ethylene dibromide |  | 106-93-4 | 0.028 | 15 |
| Dibromomethane |  | 74-95-3 | 0.11 | 15 |
| m-Dichlorobenzene |  | 541-73-1 | 0.036 | 6.0 |
| o-Dichlorobenzene |  | 95-50-1 | 0.088 | 6.0 |
| p-Dichlorobenzene |  | 106-46-7 | 0.090 | 6.0 |
| Dichlorodifluoromethane |  | 75-71-8 | 0.23 | 7.2 |
| 1,1-Dichloroethane |  | 75-34-3 | 0.059 | 6.0 |
| 1,2-Dichloroethane |  | 107-06-2 | 0.21 | 6.0 |
| 1,1-Dichloroethylene |  | 75-35-4 | 0.025 | 6.0 |
| trans-1,2-Dichloroethylene |  | 156-60-5 | 0.054 | 30 |
| 2,4-Dichlorophenol |  | 120-83-2 | 0.044 | 14 |
| 2,6-Dichlorophenol |  | 87-65-0 | 0.044 | 14 |
| 2,4-Dichlorophenoxyacetic acid/2,4-D |  | 94-75-7 | 0.72 | 10 |
| 1,2-Dichloropropane |  | 78-87-5 | 0.85 | 18 |
| cis-1,3-Dichloropropylene |  | 10061-01-5 | 0.036 | 18 |
| trans-1,3-Dichloropropylene |  | 10061-02-6 | 0.036 | 18 |
| Dieldrin |  | 60-57-1 | 0.017 | 0.13 |
| Diethyl phthalate |  | 84-66-2 | 0.20 | 28 |
| p-Dimethylaminoazobenzene |  | 60-11-7 | 0.13 | NA |
| 2,4-Dimethylaniline (2,4-xylidine) |  | 95-68-1 | 0.010 | 0.66 |
| 2,4-Dimethyl phenol |  | 105-67-9 | 0.036 | 14 |
| Dimethyl phthalate |  | 131-11-3 | 0.047 | 28 |
| Di-n-butyl phthalate |  | 84-74-2 | 0.057 | 28 |
| 1,4-Dinitrobenzene |  | 100-25-4 | 0.32 | 2.3 |
| 4,6-Dinitro-o-cresol |  | 534-52-1 | 0.28 | 160 |
| 2,4-Dinitrophenol |  | 51-28-5 | 0.12 | 160 |
| 2,4-Dinitrotoluene |  | 121-14-2 | 0.32 | 140 |
| 2,6-Dinitrotoluene |  | 606-20-2 | 0.55 | 28 |
| Di-n-octyl phthalate |  | 117-84-0 | 0.017 | 28 |
| Di-n-propylnitrosamine |  | 621-64-7 | 0.40 | 14 |
| 1,4-Dioxane |  | 123-91-1 | 12.0 | 170 |
| Diphenylamine (difficult to distinguish from diphenylnitrosamine) |  | 122-39-4 | 0.92 | 13 |
| Diphenylnitrosamine (difficult to distinguish from diphenylamine) |  | 86-30-6 | 0.92 | 13 |
| 1,2-Diphenylhydrazine |  | 122-66-7 | 0.087 | NA |
| Disulfoton |  | 298-04-4 | 0.017 | 6.2 |
| Endosulfan I |  | 959-98-8 | 0.023 | 0.066 |
| Endosulfan II |  | 33213-65-9 | 0.029 | 0.13 |
| Endosulfan sulfate |  | 1031-07-8 | 0.029 | 0.13 |
| Endrin |  | 72-20-8 | 0.0028 | 0.13 |
| Endrin aldehyde |  | 7421-93-4 | 0.025 | 0.13 |
| Ethyl acetate |  | 141-78-6 | 0.34 | 33 |
| Ethyl benzene |  | 100-41-4 | 0.057 | 10 |
| Ethyl cyanide (Propanenitrile) |  | 107-12-0 | 0.24 | 360 |
| Ethylene oxide |  | 75-21-8 | 0.12 | NA |
| Ethyl ether |  | 60-29-7 | 0.12 | 160 |
| bis(2-Ethylhexyl) phthalate |  | 117-81-7 | 0.28 | 28 |
| Ethyl methacrylate |  | 97-63-2 | 0.14 | 160 |
| Famphur |  | 52-85-7 | 0.017 | 15 |
| Fluoranthene |  | 206-44-0 | 0.068 | 3.4 |
| Fluorene |  | 86-73-7 | 0.059 | 3.4 |
| Heptachlor |  | 76-44-8 | 0.0012 | 0.066 |
| 1,2,3,4,6,7,8-Heptachlorodibenzo-p-dioxin (1,2,3,4,6,7,8-HpCDD) |  | 35822-46-9 | 0.000035 | 0.0025 |
| 1,2,3,4,6,7,8-Heptachlorodibenzofuran (1,2,3,4,6,7,8-HpCDF) |  | 67562-39-4 | 0.000035 | 0.0025 |
| 1,2,3,4,7,8,9-Heptachlorodibenzofuran (1,2,3,4,7,8,9-HpCDF) |  | 55673-89-7 | 0.000035 | 0.0025 |
| Heptachlor epoxide |  | 1024-57-3 | 0.016 | 0.066 |
| Hexachlorobenzene |  | 118-74-1 | 0.055 | 10 |
| Hexachlorobutadiene |  | 87-68-3 | 0.055 | 5.6 |
| Hexachlorocyclopentadiene |  | 77-47-4 | 0.057 | 2.4 |
| HxCDDs (All Hexachlorodibenzo-p-dioxins) |  | NA | 0.000063 | 0.001 |
| HxCDFs (All Hexachlorodibenzofurans) |  | 55684-94-1 | 0.000063 | 0.001 |
| Hexachloroethane |  | 67-72-1 | 0.055 | 30 |
| Hexachloropropylene |  | 1888-71-7 | 0.035 | 30 |
| Indeno (1,2,3-c,d) pyrene |  | 193-39-5 | 0.0055 | 3.4 |
| Iodomethane |  | 74-88-4 | 0.19 | 65 |
| Isobutyl alcohol |  | 78-83-1 | 5.6 | 170 |
| Isodrin |  | 465-73-6 | 0.021 | 0.066 |
| Isosafrole |  | 120-58-1 | 0.081 | 2.6 |
| Kepone |  | 143-50-0 | 0.0011 | 0.13 |
| Methacrylonitrile |  | 126-98-7 | 0.24 | 84 |
| Methanol |  | 67-56-1 | 5.6 | 0.75 mg/ℓ TCLP |
| Methapyrilene |  | 91-80-5 | 0.081 | 1.5 |
| Methoxychlor |  | 72-43-5 | 0.25 | 0.18 |
| 3-Methylcholanthrene |  | 56-49-5 | 0.0055 | 15 |
| 4,4-Methylene bis(2-chloroaniline) |  | 101-14-4 | 0.50 | 30 |
| Methylene chloride |  | 75-09-2 | 0.089 | 30 |
| Methyl ethyl ketone |  | 78-93-3 | 0.28 | 36 |
| Methyl isobutyl ketone |  | 108-10-1 | 0.14 | 33 |
| Methyl methacrylate |  | 80-62-6 | 0.14 | 160 |
| Methyl methansulfonate |  | 66-27-3 | 0.018 | NA |
| Methyl parathion |  | 298-00-0 | 0.014 | 4.6 |
| Naphthalene |  | 91-20-3 | 0.059 | 5.6 |
| 2-Naphthylamine |  | 91-59-8 | 0.52 | NA |
| o-Nitroaniline |  | 88-74-4 | 0.27 | 14 |
| p-Nitroaniline |  | 100-01-6 | 0.028 | 28 |
| Nitrobenzene |  | 98-95-3 | 0.068 | 14 |
| 5-Nitro-o-toluidine |  | 99-55-8 | 0.32 | 28 |
| o-Nitrophenol |  | 88-75-5 | 0.028 | 13 |
| p-Nitrophenol |  | 100-02-7 | 0.12 | 29 |
| N-Nitrosodiethylamine |  | 55-18-5 | 0.40 | 28 |
| N-Nitrosodimethylamine |  | 62-75-9 | 0.40 | 2.3 |
| N-Nitroso-di-n-butylamine |  | 924-16-3 | 0.40 | 17 |
| N-Nitrosomethylethylamine |  | 10595-95-6 | 0.40 | 2.3 |
| N-Nitrosomorpholine |  | 59-89-2 | 0.40 | 2.3 |
| N-Nitrosopiperidine |  | 100-75-4 | 0.013 | 35 |
| N-Nitrosopyrrolidine |  | 930-55-2 | 0.013 | 35 |
| 1,2,3,4,6,7,8,9-Octachlorodibenzo-p-dioxin (1,2,3,4,6,7,8,9-OCDD) |  | 3268-87-9 | 0.000063 | 0.005 |
| 1,2,3,4,6,7,8,9-Octachlorodibenzofuran (1,2,3,4,6,7,8,9-OCDF) |  | 39001-02-0 | 0.000063 | 0.005 |
| Parathion |  | 56-38-2 | 0.014 | 4.6 |
| Total PCBs (sum of all PCB isomers, or all Aroclors)8 |  | 1336-36-3 | 0.10 | 10 |
| Pentachlorobenzene |  | 608-93-5 | 0.055 | 10 |
| PeCDDs (All Pentachlorodibenzo-p-dioxins) |  | 36088-22-9 | 0.000063 | 0.001 |
| PeCDFs (All Pentachlorodibenzofurans) |  | 30402-15-4 | 0.000035 | 0.001 |
| Pentachloroethane |  | 76-01-7 | 0.055 | 6.0 |
| Pentachloronitrobenzene |  | 82-68-8 | 0.055 | 4.8 |
| Pentachlorophenol |  | 87-86-5 | 0.089 | 7.4 |
| Phenacetin |  | 62-44-2 | 0.081 | 16 |
| Phenanthrene |  | 85-01-8 | 0.059 | 5.6 |
| Phenol |  | 108-95-2 | 0.039 | 6.2 |
| 1,3-Phenylenediamine |  | 108-45-2 | 0.010 | 0.66 |
| Phorate |  | 298-02-2 | 0.021 | 4.6 |
| Phthalic acid |  | 100-21-0 | 0.055 | 28 |
| Phthalic anhydride |  | 85-44-9 | 0.055 | 28 |
| Pronamide |  | 23950-58-5 | 0.093 | 1.5 |
| Pyrene |  | 129-00-0 | 0.067 | 8.2 |
| Pyridine |  | 110-86-1 | 0.014 | 16 |
| Safrole |  | 94-59-7 | 0.081 | 22 |
| Silvex (2,4,5-TP) |  | 93-72-1 | 0.72 | 7.9 |
| 1,2,4,5-Tetrachlorobenzene |  | 95-94-3 | 0.055 | 14 |
| TCDDs (All Tetrachlorodibenzo-p-dioxins) |  | 41903-57-5 | 0.000063 | 0.001 |
| TCDFs (All Tetrachlorodibenzofurans) |  | 55722-27-5 | 0.000063 | 0.001 |
| 1,1,1,2-Tetrachloroethane |  | 630-20-6 | 0.057 | 6.0 |
| 1,1,2,2-Tetrachloroethane |  | 79-34-5 | 0.057 | 6.0 |
| Tetrachloroethylene |  | 127-18-4 | 0.056 | 6.0 |
| 2,3,4,6-Tetrachlorophenol |  | 58-90-2 | 0.030 | 7.4 |
| Toluene |  | 108-88-3 | 0.080 | 10 |
| Toxaphene |  | 8001-35-2 | 0.0095 | 2.6 |
| Tribromomethane (Bromoform) |  | 75-25-2 | 0.63 | 15 |
| 1,2,4-Trichlorobenzene |  | 120-82-1 | 0.055 | 19 |
| 1,1,1-Trichloroethane |  | 71-55-6 | 0.054 | 6.0 |
| 1,1,2-Trichloroethane |  | 79-00-5 | 0.054 | 6.0 |
| Trichloroethylene |  | 79-01-6 | 0.054 | 6.0 |
| Trichloromonofluoromethane |  | 75-69-4 | 0.020 | 30 |
| 2,4,5-Trichlorophenol |  | 95-95-4 | 0.18 | 7.4 |
| 2,4,6-Trichlorophenol |  | 88-06-2 | 0.035 | 7.4 |
| 2,4,5-Trichlorophenoxyacetic acid/2,4,5-T |  | 93-76-5 | 0.72 | 7.9 |
| 1,2,3-Trichloropropane |  | 96-18-4 | 0.85 | 30 |
| 1,1,2-Trichloro-1,2,2-trifluoroethane |  | 76-13-1 | 0.057 | 30 |
| tris-(2,3-Dibromopropyl) phosphate |  | 126-72-7 | 0.11 | 0.10 |
| Vinyl chloride |  | 75-01-4 | 0.27 | 6.0 |
| Xylenes-mixed isomers (sum of o-, m-, and p-xylene concentrations) |  | 1330-20-7 | 0.32 | 30 |
| Antimony |  | 7440-36-0 | 1.9 | 1.15 mg/ℓ TCLP |
| Arsenic |  | 7440-38-2 | 1.4 | 5.0 mg/ℓ TCLP |
| Barium |  | 7440-39-3 | 1.2 | 21 mg/ℓ TCLP |
| Beryllium |  | 7440-41-7 | 0.82 | 1.22 mg/ℓ TCLP |
| Cadmium |  | 7440-43-9 | 0.69 | 0.11 mg/ℓ TCLP |
| Chromium (Total) |  | 7440-47-3 | 2.77 | 0.60 mg/ℓ TCLP |
| Cyanides (Total)4 |  | 57-12-5 | 1.2 | 590 |
| Cyanides (Amenable)4 |  | 57-12-5 | 0.86 | 30 |
| Fluoride5 |  | 16984-48-8 | 35 | NA |
| Lead |  | 7439-92-1 | 0.69 | 0.75 mg/ℓ TCLP |
| Mercury-Nonwastewater from Retort |  | 7439-97-6 | NA | 0.20 mg/ℓ TCLP |
| Mercury-All Others |  | 7439-97-6 | 0.15 | 0.025 mg/ℓ TCLP |
| Nickel |  | 7440-02-0 | 3.98 | 11 mg/ℓ TCLP |
| Selenium7 |  | 7782-49-2 | 0.82 | 5.7 mg/ℓ TCLP |
| Silver |  | 7440-22-4 | 0.43 | 0.14 mg/ℓ TCLP |
| Sulfide |  | 18496-25-8 | 14 | NA |
| Thallium |  | 7440-28-0 | 1.4 | 0.20 mg/ℓ TCLP |
| Vanadium5 |  | 7440-62-2 | 4.3 | 1.6 mg/ℓ TCLP |
| Zinc5 |  | 7440-66-6 | 2.61 | 4.3 mg/ℓ TCLP |

1	CAS means Chemical Abstract Services. When the USEPA hazardous waste number or regulated constituents are described as a combination of a chemical with its salts or esters, the CAS number is given for the parent compound only.

2	Concentration standards for wastewaters are expressed in mg/ℓ are based on analysis of composite samples.

3	Except for metals (EP or TCLP) and cyanides (total and amenable), the nonwastewater treatment standards expressed as a concentration were established, in part, based on incineration in units operated in accordance with the technical requirements of Subpart O of 35 Ill. Adm. Code 724 or Subpart O of 35 Ill. Adm. Code 725 or on combustion in fuel substitution units operating in accordance with applicable technical requirements. A facility may comply with these treatment standards according to provisions in Section 728.140(d). All concentration standards for nonwastewaters are based on analysis of grab samples.

4	Both Cyanides (Total) and Cyanides (Amenable) for nonwastewaters are to be analyzed using Method 9010C or 9012B, in "Test Methods for Evaluating Solid Waste, Physical/Chemical Methods", USEPA publication number EPA-530/ SW-846, incorporated by reference in 35 Ill. Adm. Code 720.111(a), with a sample size of 10 grams and a distillation time of one hour and 15 minutes.

5	These constituents are not "underlying hazardous constituents" in characteristic wastes, according to the definition at Section 728.102(i).

6	This footnote corresponds with footnote 6 to the table to 40 CFR 268.48(a), which USEPA has removed and marked "reserved".  This statement maintains structural consistency with the corresponding federal regulations.

7	This constituent is not an underlying hazardous constituent, as defined at Section 728.102(i), because its UTS level is greater than its TC level. Thus, a treated selenium waste would always be characteristically hazardous unless it is treated to below its characteristic level.

8	This standard is temporarily deferred for soil exhibiting a hazardous characteristic due to USEPA hazardous waste numbers D004 through D011 only.

Note:  NA means not applicable.

BOARD NOTE:  Derived from table to 40 CFR 268.48(a) (2017).

(Source:  Amended at 42 Ill. Reg. 24924, effective November 19, 2018)