Section 731.161  Initial Response

Upon confirmation of a release or after a release from the UST system is identified in any other manner, owners and operators must perform the following initial response actions within 24 hours of a release:

a)	Report the release to EMA (e.g., by telephone or electronic mail);

b)	Take immediate action to prevent any further release of the regulated substance into the environment; and

c)	Identify and mitigate fire, explosion and vapor hazards.

(Source:  Amended at 40 Ill. Reg. 10312, effective July 13, 2016)