Section 734.APPENDIX A   Indicator Contaminants

| TANK CONTENTS |  | INDICATOR CONTAMINANTS |
| --- | --- | --- |
| GASOLINE leaded1, unleaded, premium and gasohol |  | Benzene Ethylbenzene Toluene Xylene Methyl tertiary butyl ether (MTBE) |

| MIDDLE DISTILLATE AND HEAVY ENDS |  |  |
| --- | --- | --- |
| aviation turbine fuels1 jet fuels |  | Benzene Ethylbenzene Toluene Xylene |
| diesel fuels |  | Acenaphthene |
| gas turbine fuel oils |  | Anthracene |
| heating fuel oils |  | Benzo(a)anthracene |
| illuminating oils |  | Benzo(a)pyrene |
| kerosene |  | Benzo(b)fluoranthene |
| lubricants |  | Benzo(k)fluoranthene |
| liquid asphalt and dust laying oils |  | Chrysene |
| cable oils |  | Dibenzo(a,h)anthracene |
| crude oil, crude oil fractions |  | Fluoranthene |
| petroleum feedstocks |  | Fluorene |
| petroleum fractions |  | Indeno(1,2,3-c,d)pyrene |
| heavy oils |  | Naphthalene |
| transformer oils2 |  | Pyrene |
| hydraulic fluids3 |  | Acenaphthylene |
| petroleum spirits4 |  | Benzo(g,h,i)perylene |
| mineral spirits4, Stoddard solvents4 |  | Phenanthrene |
| high-flash aromatic naphthas4 |  |  |
| VM&P naphthas4 |  |  |
| moderately volatile hydrocarbon solvents4 |  |  |
| petroleum extender oils4 |  |  |

| USED OIL |  | Screening sample5 |
| --- | --- | --- |

1	lead is also an indicator contaminant

2	the polychlorinated biphenyl parameters listed in Appendix B are also indicator contaminants

3	barium is also an indicator contaminant

4	the volatile, base/neutral and polynuclear aromatic parameters listed in Appendix B are also indicator contaminants

5	used oil indicator contaminants must be based on the results of a used oil soil sample analysis − refer to Section 734.405(g) of this Part