Section 734.APPENDIX B   Additional Parameters

Volatiles

| 1. | Benzene |
| --- | --- |
| 2. | Bromoform |
| 3. | Carbon tetrachloride |
| 4. | Chlorobenzene |
| 5. | Chloroform |
| 6. | Dichlorobromomethane |
| 7. | 1,2-Dichloroethane |
| 8. | 1,1-Dichloroethene |
| 9. | cis-1,2-Dichloroethylene |
| 10. | Trans-1,2-Dichloroethylene |
| 11. | Dichloromethane (Methylene chloride) |
| 12. | 1,2-Dichloropropane |
| 13. | 1,3-Dichloropropylene (cis + trans) |
| 14. | Ethylbenzene |
| 15. | Styrene |
| 16. | Tetrachloroethylene |
| 17. | Toluene |
| 18. | 1,1,1-Trichloroethane |
| 19. | 1,1,2-Trichloroethane |
| 20. | Trichloroethylene |
| 21. | Vinyl chloride |
| 22. | Xylenes (total) |

Base/Neutrals

| 1. | Bis(2-chloroethyl)ether |
| --- | --- |
| 2. | Bis(2-ethylhexyl)phthalate |
| 3. | 1,2-Dichlorobenzene |
| 4. | 1,4-Dichlorobenzene |
| 5. | Hexachlorobenzene |
| 6. | Hexachlorocyclopentadiene |
| 7. | n-Nitrosodi-n-propylamine |
| 8. | n-Nitrosodiphenylamine |
| 9. | 1,2,4-Trichlorobenzene |

Polynuclear Aromatics

| 1. | Acenaphthene |
| --- | --- |
| 2. | Anthracene |
| 3. | Benzo(a)anthracene |
| 4. | Benzo(a)pyrene |
| 5. | Benzo(b)fluoranthene |
| 6. | Benzo(k)fluoranthene |
| 7. | Chrysene |
| 8. | Dibenzo(a,h)anthracene |
| 9. | Fluoranthene |
| 10. | Fluorene |
| 11. | Indeno(1,2,3-c,d)pyrene |
| 12. | Naphthalene |
| 13. | Pyrene |
| 14. | Acenaphthylene |
| 15. | Benzo(g,h,i)perylene |
| 16. | Phenanthrene |

Metals (total inorganic and organic forms)

| 1. | Arsenic |
| --- | --- |
| 2. | Barium |
| 3. | Cadmium |
| 4. | Chromium (total) |
| 5. | Lead |
| 6. | Mercury |
| 7. | Selenium |

Polychlorinated Biphenyls

1.	Polychlorinated Biphenyls

(as Decachlorobiphenyl)