Section 750.492  Methods of Remedying Releases − Provision of Alternative Water Supplies

Alternative water supplies can be provided in several ways:

a)	Provision of individual treatment units;

b)	Provision of water distribution system;

c)	Provision of new wells in a new location or deeper wells;

d)	Provision of cisterns;

e)	Provision of bottled or treated water;

f)	Provision of upgraded treatment for existing distribution systems.