Section 807.317  Operating Records

Every holder of an operating permit shall submit to the Agency, Division of Land Pollution Control on or before the 15th day of January, April, July and October the water monitoring data required by permit.