Section 811.504  Sampling Requirements

A sampling program shall be implemented as part of the CQA plan, for all construction activities, in order to insure, at a minimum, that construction materials and operations meet the following requirements:

a)	The sampling program shall be designed prior to construction.

b)	The sampling program shall be based upon statistical sampling techniques and shall establish and specify criteria for acceptance or rejection of materials and operations.