Section 812.307  Leachate Drainage and Collection Systems

The permit application shall contain information to demonstrate that the proposed leachate drainage and collection system will be in compliance with 35 Ill. Adm. Code 811.307 and 811.308, including:

a)	A plan view of the leachate collection system, showing pipe locations, cleanouts, manholes, sumps, leachate storage structures and other related information;

b)	Cross sections and descriptions of manholes, sumps, cleanouts, connections and other appurtenances;

c)	The locations of all leachate level monitoring locations;

d)	A stability analysis showing that the side slopes will maintain the necessary static and seismic safety factors during all phases of operation;

e)	All calculations, assumptions and information used to design the leachate collection and drainage system;

f)	A description of the methods to be used to clean and otherwise maintain the leachate collection and drainage system, including the number and location of access and cleanout points; and

g)	A construction quality assurance program to insure proper construction of the systems pursuant to 35 Ill. Adm. Code 811.Subpart E.