Section 812.310  Gas Collection Systems

The permit application shall contain, when a gas collection system is required pursuant to 35 Ill. Adm. Code 811.311(a), a plan for collecting landfill gas from the unit.  The plan shall contain information to demonstrate compliance with 35 Ill. Adm. Code 811.311, including:

a)	Location of the collection points;

b)	Layout and design of the collection system;

c)	A description of and specifications for all machinery, compressors, flares, piping and other appurtenances necessary to the system; and

d)	A gas condensate disposal plan.