Section 812.311  Landfill Gas Disposal

When a permit application contains a plan for a gas collection system, then a plan for landfill gas disposal shall be submitted. The plan shall contain information to demonstrate compliance with 35 Ill. Adm. Code 811.312, including:

a)	The approved air discharge permit or, if the permit is pending, a copy of the air discharge permit application required pursuant to 35 Ill. Adm. Code 200 thru 245;

b)	A map showing the location of the gas processing facility;

c)	Designs for the disposal system;

d)	A gas processing plan which includes a description of the beneficial uses to be derived for the gas and the design of the processing system; and

e)	Where an off-site processing plant is utilized, the application shall contain documentation showing that the plant meets all requirements of 35 Ill. Adm. Code 811.312(g).