Section 817.104  Sampling Frequency

a)	All individual wastes streams shall be tested annually pursuant to 817.103(a).

b)	Additional testing on individual waste streams shall be conducted when any of the following occurs:

1)	There is a change in the raw materials which could result in a change in the wastes' classification;

2)	There is a modification to the process which generates the waste that could result in a change in the waste's leaching characteristics; or

3)	There is an addition of a new process which may generate a new waste material.