Section 840.140  Contents of Post-Closure Care Plan

The post-closure care plan, or modification of the plan, must include, at a minimum, the following elements:

a)	Description of the post-closure care activities required by Section 840.136 of this Subpart;

b)	Description of the groundwater monitoring system required by Section 840.112 of the Subpart and a description of the maintenance plan for the groundwater monitoring system;

c)	Description of the groundwater monitoring program required by Section 840.114 of this Subpart;

d)	Identification of the location of the monitoring wells used for trend analyses required by Section 840.118 of this Subpart;

e)	Description of the operation and maintenance that will be required for the groundwater collection trench and discharge system required by Sections 840.120 and 840.122 of this Subpart;

f)	Description of the groundwater trend analysis methods required by Section 840.118 of this Subpart;

g)	A proposal for a groundwater management zone as set forth in Section 840.116(b) of this Subpart, if applicable;

h)	Description of actions proposed to mitigate statistically significant increasing trends in accordance with Section 840.118(c) of this Subpart, if applicable, and the operation and maintenance of any structures or devices; and

i)	The signature and seal of the professional engineer supervising the preparation of the post-closure care plan.