Section 1100.308  Surface Water Control

The permit application must contain a plan for controlling surface water that demonstrates compliance with Section 1100.202 of this Part, and that includes at least the following:

a)	A copy of any approved National Pollutant Discharge Elimination System (NPDES) permit issued pursuant to 35 Ill. Adm. Code 309 to discharge runoff from all filled areas of the facility, or a copy of any such NPDES permit application if an NPDES permit is pending; and

b)	A map showing the location of all surface water control structures at the facility.