Section 1420.107  Cleaning and Disinfection

a)	Cleaning and disinfection includes:

1)	Washing with a solution of detergent used in compliance with manufacturer's instructions and agitation to remove visible contamination from each surface, followed by a clean water rinse; and

2)	One of the following methods of low-level disinfection:

A)	Exposure to hot water of at least 82 degrees Celsius (180 degrees Fahrenheit) for a minimum of 15 seconds;

B)	Rinsing with, or immersion in, a chemical disinfectant registered by USEPA, as identified on its label and used in compliance with the manufacturer's instructions;

C)	Rinsing with, or immersion in, a hypochlorite solution at a concentration of 50 parts per million.  For example, ⅛ cup of common household bleach (5.25% sodium hypochlorite) per gallon of tap water (31 milliliters bleach to 3.78 liters of water); or

D)	Other disinfection processes as approved by the Agency in writing as an equivalent to one of the methods in subsections (a)(2)(A) and (B).

b)	A detergent-sanitizer used in conjunction with agitation to remove visible contamination may be substituted for the methods in subsection (a), if used in compliance with the manufacturer's instructions.

(Source:  Amended at 43 Ill. Reg. 10044, effective August 30, 2019)