SUBPART A: DEFINITIONS

Section

175.100 Definitions

SUBPART B: MOTOR FUEL DISPENSING FACILITY REQUIREMENTS

Section

175.200 General Requirements for Motor Fuel Dispensing Facilities

175.210 Attended Self-Service Motor Fuel Dispensing Facilities and Islands

175.220 Unattended Self-Service Motor Fuel Dispensing Facilities and Islands

175.230 Fleet Vehicle Motor Fuel Dispensing Facilities

175.240 Full Service Motor Fuel Dispensing Facilities and Islands

175.250 Marine Motor Fuel Dispensing Facilities

175.260 Miscellaneous General Operating Requirements

SUBPART C: PERMITS, FEES AND SCHEDULING

Section

175.300 Permitted UST Activity

175.310 Site Plans

175.320 Scheduling of UST Activity

175.330 Payment of 1988 Annual UST Fee (Repealed)

SUBPART D: DESIGN, INSTALLATION AND CONSTRUCTION REQUIREMENTS

Section

175.400 Design and Construction of USTs

175.405 Spill Containment and Overfill Prevention Equipment

175.410 Submersible, Under-dispenser, Transition and OtherContainment Sumps

175.415 UST Compatibility with Product Stored

175.420 Piping

175.425 UST Wiring Procedures

175.430 Clearance Required for USTs

175.435 Testing of Tanks or Lines

175.440 Venting of Tanks

175.445 Fill Pipes

175.450 Pumps, Dispensers and Other Product Transfer Equipment

175.455 USTs Inside or Under Buildings

175.460 Marinas

175.465 Additional Requirements for Installation and Upgrade of USTs

SUBPART E: CORROSION PROTECTION

Section

175.500 Interior Lining and Lining Inspection of USTs

175.510 Corrosion Protection

SUBPART F: RELEASE DETECTION

Section

175.600 Owner/Operator Spill and Overfill Release Control Responsibilities

175.610 General Release Detection Requirements for All USTs

175.620 Release Detection Requirements for Hazardous Substance USTs

175.630 Methods of and Requirements for Release Detection for Tanks

175.640 Methods of and Requirements for Release Detection for Piping

175.650 Release Detection and Cathodic Protection Recordkeeping

SUBPART G: REPAIRS TO UNDERGROUND STORAGE TANKS

AND DEFECTIVE EQUIPMENT

Section

175.700 Repairs Allowed

175.710 Emergency Repairs

175.720 Defective or Non-Compliant Equipment and Emergency Action by OSFM

SUBPART H: REMOVAL, ABANDONMENT AND CHANGE-IN-SERVICE

Section

175.800 Removal, Abandonment-in-Place or Change-in-Service Records

175.810 Out of Service

175.820 Change-in-Service of USTs

175.830 Removal of USTs

175.840 Abandonment-in-Place

SUBPART I: UST SYSTEMS WITH FIELD-CONSTRUCTED TANKS AND

AIRPORT HYDRANT FUEL DISTRIBUTION SYSTEMS

Section

175.900 General Requirements

175.910 Additions, Exceptions, and Alternatives for UST Systems with Field-Constructed Tanks and Airport Hydrant Systems

175.920 Partial Exclusions for Aboveground Storage Tanks Associated with Airport Hydrant Systems and Field-Constructed Tanks

175.APPENDIX A UST Activity that Cannot Proceed Without an OSFM Inspector on Site

175.APPENDIX B The Type of OSFM Permit Required for Specific Permitted UST Activities

175.APPENDIX C Derivation Table (Repealed)