**Section 175.230 Fleet Vehicle Motor Fuel Dispensing Facilities**

Fleet vehicle motor fuel dispensing facilities shall comply with all of the requirements for unattended self-service motor fuel dispensing facilities in Section 175.220, except that the signs required under Section 175.220(a) and the fire detection and fire suppression systems required under Section 175.220(h) shall not be required. Automatic notification to local emergency fire services providers when the emergency stop is activated shall not be required so long as the facility is not open to the public for unattended dispensing at any time. Fleet facilities shall comply with requirements for portable fire extinguishers found in Section 175.220(h)(2)(E) and 41 Ill. Adm. Code 174.350. Other signage requirements under Section 175.220 shall still apply, along with the remainder of the requirements of Section 175.220.

(Source: Amended at 42 Ill. Reg. 10476, effective October 13, 2018)