**Section 175.240 Full Service Motor Fuel Dispensing Facilities and Islands**

Full service motor fuel dispensing facilities and islands shall comply with all of the requirements for attended self-service motor fuel dispensing facilities in Section 175.210, with the following modifications or additions.

a) A control station and audible communication system shall not be required at a full service motor fuel dispensing facility or island. The attendant shall, however, at all times be able to communicate with persons in the dispensing area. Facilities with dispensers that are not on a full-service island remain subject to the requirements for attended facilities under Section 175.210 for the dispensers that are not full-service.

b) Minimum Signage. Signs shall be provided that are clearly visible to all full-service customers. The signs shall be made of all-weather material and the lettering shall be not less than ⅞ inch high. The top of the signs shall be mounted no higher than 10 feet above grade, or at a height approved by OSFM, and shall include the following wording, at a minimum: "No dispensing by anyone other than the attendant".

(Source: Amended at 47 Ill. Reg. 6837, effective May 2, 2023)