**Section 180.21 Dispensing Tank Connected by Associated Piping to a Bulk Tank**

A tank which would otherwise be classified as a dispensing tank but is connected by associated piping to a bulk tank, is considered a bulk tank.

(Source: Added at 13 Ill. Reg. 14978, effective September 7, 1989)