**Section 251.70 Labeling**

a) All labels shall be placed on the side of the fire extinguisher or suppression system cylinder, creating an unobstructed view for inspection.

b) All labels shall contain the following minimum information:

1) Name and license number of distributor.

2) Name and license number of employee performing the service.

3) Type of service performed (shall be punched, if applicable).

4) The date the service was performed (shall be punched, if applicable).