**Section 2120.1355 Records**

The Owner-User Quality Control System shall describe the procedures to be followed to ensure the following records are maintained for the life of the pressure vessel or boiler.

a) Inservice Inspection Records:

1) ASME data reports if applicable

2) Date object was placed in service

3) Record of inservice inspections including inspector's signature

b) Repair Record:

1) Calculations

2) Material test reports

3) Traveler

4) Welding procedure specifications

5) Welding procedure qualification records

6) Welder qualification records

7) Heat treat procedure

8) Time-temperature charts

9) NDE procedures

10) NDE examination reports including NDE technician signature

(Source: Amended at 17 Ill. Reg. 14917, effective September 1, 1993)