Section 205.1310  Plant and Service Requirements

All ambulatory surgical treatment centers are required to meet the following physical plant and service requirements.

a)	All proposed facilities shall meet these requirements before licensure will be granted.

b)	All existing facilities that are not in compliance with this Section, and subsequent Sections, shall come into compliance no later than May 17, 1984.

(Source:  Amended at 7 Ill. Reg. 7640, effective June 14, 1983)