Section 205.1390  Other Building Services

a)	Engineering service and equipment areas shall have sufficient space for equipment rooms for boilers, furnaces, mechanical equipment, and electrical equipment.

b)	Waste processing services shall be provided for the sanitary storage and disposal of waste by mechanical destruction, compaction, containerization, removal, or by a combination of these techniques.

c)	Storage rooms for building maintenance supplies and yard equipment shall be provided.

d)	Janitor's closets shall be provided with a floor receptor or service sink.

e)	The facilities required in subsections (a), (b), (c), and (d) may be shared with other offices or functions when the center is located in an institution or building not primarily devoted to ambulatory surgery.

(Source:  Amended at 48 Ill. Reg. 13763, effective August 28, 2024)