Section 205.1410  Construction, Including Fire-Resistive Requirements, and Life Safety

Buildings shall meet the construction requirements and life safety requirements established in Chapters 20 and 21 of NFPA 101 (see Section 205.115(a)(1)(B)).

(Source:  Amended at 34 Ill. Reg. 7915, effective May 25, 2010)