Section 205.1610  General

All plumbing systems shall be designed and installed in accordance with the requirements of the Illinois Plumbing Code (77 Ill. Adm. Code 890).

(Source:  Amended at 6 Ill. Reg. 6220, effective May 17, 1982)