Section 205.1640  Drainage Systems

a)	Building sewers shall discharge into a community sewage system.

b)	Where a community sewage system is not available, sewage and liquid wastes shall be collected, treated and disposed of in a private treatment system which must conform to local and State regulations.

(Source:  Amended at 6 Ill. Reg. 6220, effective May 17, 1982)