Section 205.1650  Identification

All piping for, heating, ventilating and air conditioning, and service water systems shall be coded and marked for easy identification.

(Source:  Amended at 6 Ill. Reg. 6220, effective May 17, 1982)