Section 205.1730  Panelboards

Panelboards serving lighting and appliance circuits shall be located on the same floor as the circuits they serve.  This requirement does not apply to any emergency system circuits.

(Source:  Amended at 6 Ill. Reg. 6220, effective May 17, 1982)