Section 205.1740  Lighting

a)	All spaces occupied by people, machinery, and equipment within buildings, approaches to the buildings, and parking lots shall have lighting.

b)	A portable or fixed examination light shall be provided in each examination and treatment room.

c)	Procedure rooms shall have general lighting, in addition to local lighting provided by adequate lighting units at the procedure tables.

(Source:  Amended at 18 Ill. Reg. 17250, effective December 1, 1994)