# Section 205.1770  Equipment Installation in Special Areas

a)	X-ray Installations.  Fixed and mobile X-ray equipment installations, if installed, shall conform to Article 660 of NFPA 70 (see Section 205.115(a)(1)(B)).

b)	Installation in non-flammable anesthetizing locations of all electrical equipment and devices, receptacles, and wiring shall comply with NFPA 70.  Exception:  Isolated electrical systems are not required.

c)	An "In Use" warning light or sign shall be installed immediately outside of the entrance to a procedure room in which laser equipment is used when such warning light or sign is required by the manufacturer's specifications.

(Source:  Amended at 34 Ill. Reg. 7915, effective May 25, 2010)