Section 250.1410  Anesthesia Service

a)	The Anesthesia Service shall be organized under written policies and procedures regarding staff privileges, the administration of anesthetics, and the maintenance of strict safety controls. In hospitals where there is no organized Anesthesia Service, the Surgery Service shall assume the responsibility for establishing general policies and supervising the administration of anesthetics.  The Anesthesia Service is responsible for all anesthetics administered in the hospital.

b)	The Anesthesia Service shall be under the direction of a physician who has had specialized preparation and experience in the area or who has completed a residency in anesthesiology.  An anesthesiologist shall be Board certified or a candidate for Board certification in the American Board of Anesthesiology examination system.

c)	A physician or certified registered nurse anesthetist shall supervise the work of all nonmedical personnel working in the Anesthesia Service. For the purposes of this Section, a certified registered nurse anesthetist means a registered professional nurse who has been certified as a nurse anesthetist by the American Association of Nurse Anesthetists.

d)	The hospital shall establish procedures for regular inspection, maintenance, and repair of anesthesia equipment and supplies.

e)	The Anesthesia Service, Director of Surgical Services, Director of Pharmacy, and medical staff shall collaborate to establish policies and procedures for the control, storage, and safe use of combustible anesthetics, oxygen, and other medicinal gases; types of anesthesia to be administered and procedures for each; personnel permitted to administer anesthesia; infection control, and safety regulations to be followed.

f)	The hospital shall recognize the dangers of accidental ignition of anesthetic gases to patients and others, and shall establish procedures to minimize this hazard in accordance with NFPA 99.

g)	Anesthetic agents and medicinal gases shall be administered only on the order of a member of the medical staff and shall be administered only by persons qualified in the management of these materials. See subsection (e).

h)	The use and storage of anesthetic gases shall be in accordance with NFPA 99. Areas for cleaning, testing, and storing anesthesia equipment shall be provided.

i)	An anesthetic record on special forms shall be made a part of the patient's chart.  Drugs used, vital signs and other relevant information shall be recorded at regular intervals during anesthesia.

1)	There shall be a history and physical examination by a physician no more than 30 days prior to nonemergency surgery or a procedure requiring anesthesia services, or within 24 hours after admission or registration for a surgery or procedure requiring anesthesia services.  Findings must be recorded in the patient's record prior to surgery or a procedure requiring anesthesia services.  For dental surgery, the history and physical examination may be performed by a dentist who has been granted privileges by the hospital medical staff.

2)	Except in an emergency, no anesthetic shall be administered until the patient has had a history and physical examination, and a record made of the findings.

j)	Patients under or recovering from anesthesia and those who have received sedatives or analgesic shall remain under continuous, direct nursing supervision until vital signs have become stabilized.  Any nurse performing this duty shall have been instructed in the management of post-anesthetic patients, shall have no other clinical duties while supervising these patients, and shall have immediate recourse to the attending surgeon, anesthesiologist, anesthetist, or qualified substitute present in the hospital.

k)	Post-anesthetic follow-up visits shall be made within 48 hours after the operation by the anesthesiologist, nurse anesthetist, or responsible physician, who shall note and record any postoperative abnormalities or complications from anesthesia.

(Source:  Amended at 49 Ill. Reg. 14395, effective October 27, 2025)