Section 250.1950  Grounds and Buildings Shall be Maintained

a)

1)	in a clean condition free of safety hazards;

2)	in such manner as will prevent standing water, flooding or leakage; and

3)	free of excessive noise, odors, pollens, dusts, or other environmental pollutants and such nuisances as may adversely affect the health or welfare of patients.

b)	Insect and Rodent Control (refer to Section 250.1730).

(Source:  Amended at 5 Ill. Reg. 507, effective December 29, 1980)