Section 250.2620  Codes and Standards

a)	NFPA 101, Chapter 19, Existing Health Care Occupancies, and all applicable references under Chapter 2, Referenced Publications, applies to and is part of this Subpart.

b)	NFPA 101A, Guide on Alternative Approaches to Life Safety, applies to and is part of this Subpart.

c)	All existing hospitals of any height shall be Type I or Type II construction as established by NFPA 101 and 220.

(Source:  Amended at 42 Ill. Reg. 9507, effective May 24, 2018)