Section 250.TABLE E   Piping Locations for Oxygen, Vacuum and Medical Compressed Air

| Location | Oxygen | Vacuum | Compressed Air |
| --- | --- | --- | --- |
| Patient Room for Adult Medical/Surgical Care | A | A |  |
| Patient Room for Postpartum Care & Pediatrics | A | F |  |
| Examination and Treatment Rooms for Nursing Unit | D | D |  |
| Patient Room for Intensive Care | C | C | B |
| Normal Newborn Nursery | A | B | A |
| Special Care & Observation Nursery | B | B | A |
| General Operating Room | E | E | E |
| Cystoscopy and Special Procedure Room | D | D | D |
| Recovery Room for Surgical and Obstetrical Patients | B | B | A |
| Delivery Room | E | E |  |
| Labor Room | A | A |  |
| Treatment Room for Emergency Care | D | D |  |
| Autopsy Room | – | D |  |
| Anesthesia Workroom | – | D |  |

| A | = | One outlet accessible to each bed One outlet may serve 2 beds |
| --- | --- | --- |
| B | = | One outlet for each bed |
| C | = | Two outlets for each bed |
| D | = | One outlet |
| E | = | Two outlets |
| F | = | One outlet provided if required by the narrative |