Section 264.2950  Emergency Electric Service

a)	An emergency source of electricity shall be provided.

b)	Birth centers shall be permitted to use a battery system for emergency power.  The following is required:

1)	Illumination of means of egress as required in the Life Safety Code (NFPA 101);

2)	Illumination of birth and recovery rooms;

3)	Illumination of exit and exit directional signs;

4)	Fire alarm and alarms required for nonflammable medical gas systems, if nonflammable medical gas systems are installed; and

5)	Type 3 emergency electrical service that meets all NFPA 99 requirements of this type of system.