Section 295.9020  Supplemental Physical Plant Requirements for Shared Housing Establishments

Shared housing establishments shall provide at least one tub and/or shower for every six residents and one operational toilet and one sink for every four residents.  Each bathroom shall provide privacy when in use and shall contain:

a)	A mirror, unless the resident's service plan requires otherwise;

b)	A means of ventilation or an operable window;

c)	Nonporous surfaces for shower or tub enclosure and slip-resistant surfaces in tubs and showers; and

d)	Grab bars for the toilet and tub or shower, and other assistive devices, to provide for resident safety if required in a resident's service plan.