Section 300.2610  Codes

Water supply, sewage disposal and plumbing systems shall comply with all applicable State and local codes and ordinances. (B)

(Source:  Amended at 13 Ill. Reg. 4684, effective March 24, 1989)