Section 300.2630  Sewage Disposal

a)	All sewage and liquid wastes shall be discharged into a public sewage system when available.  (B)

b)	When a public sewage system is not available, sewage and liquid wastes shall be collected, treated, and disposed of in a private sewage disposal system.  The design, construction, maintenance, and operation of the system shall comply with the Department's rules entitled "Private Sewage Disposal Code" (77 Ill. Adm. Code 905). (B)

(Source:  Amended at 13 Ill. Reg. 4684, effective March 24, 1989)