Section 300.2820  Compliance with Local Codes and Standards

a)	In addition to compliance with the standards set forth in this Part, all building codes, ordinances and regulations that are enforced by city, county or other local jurisdictions in which the facility is, or will be, located shall be observed.

b)	If no local building code exists, the recommendations of the International Building Code shall apply.

c)	The local building code or the recommendations of the International Building Code shall apply insofar as its recommendations are not in conflict with the standards set forth in this Part, or with the NFPA 101.

(Source:  Amended at 45 Ill. Reg. 11096, effective August 27, 2021)