Section 330.2610  Codes

Water supply and sewage disposal and plumbing systems shall comply with all applicable State and local codes and ordinances.  (B)

(Source:  Amended at 13 Ill. Reg. 6562, effective April 17, 1989)