Section 330.2640  Plumbing

Each plumbing system shall comply with the Illinois Plumbing Code (77 Ill. Adm. Code 890) effective at the time of construction or approved acceptance by the Department.

(Source:  Amended at 13 Ill. Reg. 6562, effective April 17, 1989)