Section 330.2880  Architectural Drawings

The architectural drawings shall include:

a)	Site plan showing all new topography, newly established levels and grades; existing structures on the site (if any); new buildings and structures; roadways; walks; and the extent of the areas to be seeded.  All structures and improvements which are to be removed under the construction contract shall be shown.

b)	Plan of each floor and roof.

c)	Elevations of each facade.

d)	Sections through building.

e)	Required scale and full size details.

f)	Elevator and dumbwaiter details and dimensions, size of car platform, travel, pit and machine room.

g)	Kitchen, laundry and clean and soiled utility room shall show location, size and required connections of all fixed and movable equipment.

h)	Schedule of doors and finishes.

i)	Location of all fixed equipment and major items of movable equipment.  Equipment not in contract shall be so indicated.

(Source:  Amended at 13 Ill. Reg. 6562, effective April 17, 1989)